UCSB Physical Facilities; Environmental Health & Safety
Revised 8/07


LAB VENTILATION OUTAGE NOTIFICATION

OUTAGE SCHEDULE:  
Building 266 Elings Hall
May 17, 2018
Lab supply and exhaust ventilation fans serving all labs and fumehoods on the first and second floors in the South wing of the building will be off from 8AM to 12 noon.  Do Not perform any work that requires strict ventilation service.  Labs will otherwise remain open.
May  18, 2018

Lab supply and exhaust ventilation fans serving all labs on the first, second and third floors in the North wing of the building will be off from 8AM to 12 noon.  Do Not perform any work that requires strict ventilation service.  Labs will otherwise remain open.

May 21, 2018
Lab supply and exhaust fans serving all labs and fumehoods on third floors labs, also chemical storage cabinets, vacuum pumps, gloveboxes, and other minor equipment on ALL FLOORS will be off from 8AM to 4:00PM.  Labs will otherwise remain open.
INSTRUCTIONS FOR LAB WORKERS:   During the outage, campus maintenance workers will be on the roof, either directly inside, or near, the exhaust for your lab.  To protect the health of these workers, and yours, the following lab procedures must be followed during the outage:
· Affected fume hoods, gas cabinets, snorkels, etc. shall not be used 

· Chemical containers and cylinders must be capped and/or turned-off

· If chemical odors develop, individuals are advised to exit the lab.
Questions regarding this outage should be directed to the Building Manager.   Thanks for your cooperation.

[image: image1.wmf][image: image2.wmf]
Instructions for building manager:  Ensure that this notice is posted adjacent to doors of affected labs, or on affected fume hoods/gas cabinets. Remove promptly after outage.

